## Abs_405_June_2_Raw_Data_&_Plot
Method name: Method 1
Application: SparkControl |  |  |  | V2.3
Device: Spark 10M |  |  |  | Serial number: 1607000652
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2024-06-02
Time: |  |  |  | 12:45 AM
System |  |  |  | BIOCWK-01000W
User |  |  |  | BIOCWK-01000W\RV_Lab
Plate |  |  |  | [COS96ft] - Costar 96 Flat Transparent Cat. No.: 3361/3590/9018/3591/9017/3641/3628/3370/2507/2509/2503/9017/9018/3641/3598/3599/3585/3595/3300/3474
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Absorbance |  |  |  |  | Label 1
Name |  |  |  | COS96ft
Plate layout
Plate area |  |  |  | B2-G11
Mode | Absorbance
Name | Label 1
Measurement wavelength |  |  |  | 405 | nm
Number of flashes |  |  |  | 10
Settle time |  |  |  | 50 | ms
Part of Plate |  |  |  | B2-G11
Start Time |  |  |  | 2024-06-02 00:44:48
Temperature |  |  |  | 65.8 | °C |  |  | 20_minute reaction time
| Read_On_June_2_2024 |  |  |  | Abs405_nm |  | 50uL_Lysate_in_200uL_Reaction
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 0.448 | 0.5902 | 0.6132 | 0.4228 | 0.4509 | 0.5963 | 0.6876 | 1.4858 | 1.6944 | 0.4999 | Des_1-10
C | 0.6866 | 0.5291 | 0.5373 | 0.6763 | 2.0017 | 0.3763 | 0.4409 | 0.4096 | 0.5235 | 0.8574 | Nat_1-10
D | 1.366 | 1.3888 | 1.4568 | 1.4694 | 0.3978 | 0.3683 | 1.5502 | 1.7281 | 0.1943 | 0.1922 | Mixed_Control Row
E | 0.4409 | 0.5416 | 0.6434 | 0.3932 | 0.4695 | 0.5638 | 0.687 | 1.4331 | 1.5316 | 0.4777 | Des_1-10
F | 0.655 | 0.5756 | 0.504 | 0.6093 | 1.8737 | 0.3982 | 0.459 | 0.4427 | 0.6296 | 1.0664 | Nat_1-10
G | 1.3978 | 1.3228 | 1.3471 | 1.3303 | 0.3894 | 0.3703 | 1.6535 | 1.983 | 0.2138 | 0.2263 | Mixed_Control Row
| wta-r1 | wta-r2 | wtb-r1 | wtb-r2 | neglysate_r1 | neglysate_r2 | Sol_Enz_Cont_r1 | Sol_Ezn_Cont_r2 | buffer_only1 | buffer_only_2
End Time | [71 empty] | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122
| Mean for Duplicates | [10 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | IdA1 | IdA2 | IdB1 | IdB2 | Ng1 | Ng2 | Bffr | 0.20925 |  |  | Nat93 | Nat94 | Nat95 | Nat96 | Nat97 | Nat98 | Nat99 | Nat100 | Nat95 | Nat96 | Nat97 | Nat98 | Nat99 | Nat100 | wtA_Rep1 | wtA_Rep2 | wtB_Rep1 | wtB_Rep2 | Buffer_Only
| 0.44445 | 0.5659 | 0.6283 | 0.408 | 0.4602 | 0.58005 | 0.6873 | 1.4594 | 1.613 | 0.4888 |  | 0.6708 | 0.55235 | 0.52065 | 0.6428 | 1.9377 | 0.38725 | 0.44995 | 0.42615 | 0.57655 | 0.9619 | 0.52775 | 0.47855 | 0.39675 | 1.4163 | 0.30075 | 0.442 | 0.42615 | 0.39155 | 0.50235 | 0.356 | 0.35015 | 0.45045 | 0.455 | 0.3515 | 2.2242 | 0.5899 | 0.5657 | 0.59015 | 2.3011 | 0.4894 | 0.6 | 0.44 | 2.24 | 0.45 | 0.56 | 0.34 | 0.47 | 2.71 | 0.58 | 0.46 | 0.49 | 0.53 | 0.59 | 0.96 | 0.5 | 0.41 | 2.54 | 0.58 | 0.53 | 0.45 | 1.3819 | 1.3558 | 1.402 | 1.3999 | 0.3936 | 0.3693 | 0.20405 | 0.024112 |  |  | 0.59 | 0.96 | 0.5 | 0.41 | 2.54 | 0.58 | 0.53 | 0.45 | 0.5 | 0.41 | 2.54 | 0.58 | 0.53 | 0.45 | 1.51 | 1.49 | 1.38 | 1.43 | 0.16 | 0.15
| 0.6708 | 0.55235 | 0.52065 | 0.6428 | 1.9377 | 0.38725 | 0.44995 | 0.42615 | 0.57655 | 0.9619 |  | 0.022345 | 0.03288 | 0.023547 | 0.047376 | 0.09051 | 0.015486 | 0.012799 | 0.023405 | 0.075024 | 0.14779 | 0.13145 | 0.10755 | 0.029204 | 0.2436 | 0.023264 | 0.063498 | 0.042073 | 0.056498 | 0.048578 | 0.03182 | 0.050841 | 0.059468 | 0.049356 | 0.039315 | 0.65704 | 0.13223 | 0.009051 | 0.046033 | 0.10776 | 0.010465 | 0.04 | 0.02 | 0.13 | 0.02 | 0.01 | 0.06 | 0.03 | 0.4 | 0.1 | 0.06 | 0.05 | 0.04 | 0.01 | 0.02 | 0.01 | 0.01 | 0.27 | 0 | 0.01 | 0 | 0.022486 | 0.046669 | 0.07757 | 0.098359 | 0.0059397 | 0.0014142 | 0.013789 |  |  |  | 0.01 | 0.02 | 0.01 | 0.01 | 0.27 | 0 | 0.01 | 0 | 0.01 | 0.01 | 0.27 | 0 | 0.01 | 0 | 0.02 | 0.06 | 0.04 | 0.02 | 0.02 | 0
| 1.3819 | 1.3558 | 1.402 | 1.3999 | 0.3936 | 0.3693 | 1.6018 | 1.8556 | 0.20405 | 0.20925
[60 empty] | wtA_Rep1 | wtA_Rep2 | wtB_Rep1 | wtB_Rep2
[60 empty] | 1.51 | 1.49 | 1.38 | 1.43
| StDev for Duplicates | [10 empty] | 1: StDev for Duplicates; 99: 0.02; 100: 0.06; IdA1: 0.04; IdA2: 0.02
| 0.0050205 | 0.034365 | 0.021355 | 0.02093 | 0.013152 | 0.022981 | 0.00042426 | 0.037265 | 0.11512 | 0.015698 |  | 74: wtA_Rep1; 75: wtA_Rep2; 76: wtB_Rep1; 77: wtB_Rep2
| 0.022345 | 0.03288 | 0.023547 | 0.047376 | 0.09051 | 0.015486 | 0.012799 | 0.023405 | 0.075024 | 0.14779 |  | 74: 1.3819; 75: 1.3558; 76: 1.402; 77: 1.3999
| 0.022486 | 0.046669 | 0.07757 | 0.098359 | 0.0059397 | 0.0014142 | 0.073044 | 0.18024 | 0.013789 | 0.024112 |  | 74: 0.022486; 75: 0.046669; 76: 0.07757; 77: 0.098359
[35 empty] | ngLysate_R1 | ngLysate_R2 | Buffer_Only | [26 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | IdA_R1 | IdA_R2 | IdB_R1 | IdB_R2 | Ng_R1 | Ng_R2 | Buffer_Only
[35 empty] | 0.3936 | 0.3693 | 0.20405 | 0.20925 | [25 empty] | nat1 | nat2 | nat3 | nat4 | nat5 | nat6 | nat7 | nat8 | nat9 | nat10 | Nat61 | Nat62 | Nat63 | Nat64 | Nat65 | Nat66 | Nat67 | Nat68 | Nat69 | Nat70 | Nat71 | Nat72 | Nat73 | Nat74 | Nat75 | Nat76 | Nat77 | Nat78 | Nat79 | Nat80 | Nat63 | Nat64 | Nat65 | Nat66 | Nat67 | Nat68 | Nat69 | Nat70 | Nat71 | Nat72 | Nat73 | Nat74 | Nat75 | Nat76 | Nat77 | Nat78 | Nat79 | Nat80 | Nat81 | Nat82 | [7 empty] | 0.20925
[35 empty] | 0.0059397 | 0.0014142 | 0.013789 | 0.024112 | [25 empty] | 0.6708 | 0.55235 | 0.52065 | 0.6428 | 1.9377 | 0.38725 | 0.44995 | 0.42615 | 0.57655 | 0.9619 | 0.52775 | 0.47855 | 0.39675 | 1.4163 | 0.30075 | 0.442 | 0.42615 | 0.39155 | 0.50235 | 0.356 | 0.35015 | 0.45045 | 0.455 | 0.3515 | 2.2242 | 0.5899 | 0.5657 | 0.59015 | 2.3011 | 0.4894 | 0.4894 | 0.6 | 0.44 | 2.24 | 0.45 | 0.56 | 0.34 | 0.47 | 2.71 | 0.58 | 0.46 | 0.49 | 0.53 | 0.59 | 0.96 | 0.5 | 0.41 | 2.54 | 0.58 | 0.53 | 1.3819 | 1.3558 | 1.402 | 1.3999 | 0.3936 | 0.3693 | 0.20405 | 0.024112
[64 empty] | 0.022345 | 0.03288 | 0.023547 | 0.047376 | 0.09051 | 0.015486 | 0.012799 | 0.023405 | 0.075024 | 0.14779 | 0.13145 | 0.10755 | 0.029204 | 0.2436 | 0.023264 | 0.063498 | 0.042073 | 0.056498 | 0.048578 | 0.03182 | 0.050841 | 0.059468 | 0.049356 | 0.039315 | 0.65704 | 0.13223 | 0.009051 | 0.046033 | 0.10776 | 0.010465 | 0.010465 | 0.04 | 0.02 | 0.13 | 0.02 | 0.01 | 0.06 | 0.03 | 0.4 | 0.1 | 0.06 | 0.05 | 0.04 | 0.01 | 0.02 | 0.01 | 0.01 | 0.27 | 0 | 0.01 | 0.022486 | 0.046669 | 0.07757 | 0.098359 | 0.0059397 | 0.0014142 | 0.013789